## Read Me
Prediction Rules & Formulas
Purpose | Documents the current prototype rule-based prediction logic used by the ZESA Wind Turbine Monitoring System.
Model | seasonal-baseline-0.1 — fixed seasonal formula; it is not a trained machine-learning or AI model.
Source files | backend/app/main.py and frontend/src/prediction-workspace.ts
Forecast limit | The API returns a maximum of 180 days.
Validation | Displayed back-test MAE is 1.42 m/s. This value is configured in code, not calculated during each request.
Important | Risk, health, RUL, availability and revenue are deterministic business rules. Validate against SCADA and field evidence before operational decisions.
Workbook guide | Rule Catalogue lists each formula. Worked Example contains editable input cells and Excel calculations that mirror the key rules.

## Rule Catalogue
Rule Catalogue
Area | Output | Formula / Rule | Inputs | Type | Notes
Backend forecast | Seasonal wind speed | 7.5 + 1.7 × SIN(day / 30 × 6.28) | Forecast day index (0–179) | Calculated forecast | Fixed 30-day sinusoidal seasonal cycle.
Backend forecast | Baseline power output (kW) | 2100 × ((wind_speed − 2.5) / 10)^1.8 | Seasonal wind speed | Calculated forecast | Simplified power curve; no explicit cut-in/cut-out guard beyond the generated baseline range.
Backend forecast | Lower wind bound | wind_speed − 1.6 | Seasonal wind speed | Calculated forecast | Fixed uncertainty band.
Backend forecast | Upper wind bound | wind_speed + 1.6 | Seasonal wind speed | Calculated forecast | Fixed uncertainty band.
Asset scope | Capacity share | asset_capacity_kw / fleet_capacity_kw | Selected asset capacity; fleet total capacity | Calculated adjustment | Applied only when an individual turbine is selected.
Asset scope | Operating factor | (0.84 + (asset_id MOD 5) × 0.035) × IF(status = maintenance, 0.72, 1) | Asset ID; status | Rule-based adjustment | Creates deterministic per-turbine variation.
Asset scope | Wind bias | ((asset_id MOD 5) − 2) × 0.18 | Asset ID | Rule-based adjustment | A fixed turbine-specific wind offset.
Asset scope | Adjusted wind | MAX(2.5, baseline_wind + wind_bias + SIN(row_index / 8 + asset_id) × 0.22) | Baseline wind; asset ID; forecast row index | Calculated adjustment | Minimum displayed wind is 2.5 m/s.
Asset scope | Adjusted power | baseline_power × capacity_share × operating_factor × (adjusted_wind / MAX(baseline_wind, 0.1))^1.5 | Baseline power/wind; adjusted wind; capacity share; operating factor | Calculated adjustment | Produces the selected-turbine energy series.
Asset scope | Adjusted lower bound | MAX(0, baseline_lower + wind_bias) | Baseline lower bound; wind bias | Calculated adjustment | Cannot be negative.
Asset scope | Adjusted upper bound | baseline_upper + wind_bias | Baseline upper bound; wind bias | Calculated adjustment | No upper cap.
Condition rules | Failure risk (%) | CLAMP(18 + ((asset_id × 13) MOD 57) + IF(status = maintenance, 16, 0) + ROUND((6.4 − average_wind) × 4), 0, 100) | Asset ID; status; forecast-window average wind | Rule-based estimate | Not a trained failure-probability model.
Condition rules | Health score | CLAMP(108 − failure_risk, 0, 100) | Failure risk | Rule-based estimate | Inverse mapping from rule-based risk.
Condition rules | Remaining useful life | MAX(21, 230 − failure_risk × 2) | Failure risk | Rule-based estimate | Days; minimum is 21.
Availability | Forecast availability (%) | CLAMP((IF(asset selected, 99.2 − (100 − health) × 0.13, 97.2) − (6.5 − average_wind) × 0.7 − horizon_days / 720), 0, 100) | Asset selection; health; average wind; horizon | Rule-based estimate | Fleet uses 97.2 as its starting value.
Commercial | Forecast revenue | forecast_energy_mwh × 82 | Forecast energy | Calculated estimate | Fixed tariff assumption: USD 82/MWh.
Commercial | Revenue at risk | forecast_revenue × 0.14 | Forecast revenue | Calculated estimate | Used in the revenue detail card.
Display | Confidence (%) | MAX(52, 68 − ROUND(horizon_days / 36)) | Forecast horizon | Rule-based display | A planning-confidence indicator, not statistical confidence.
Display | High-risk count | COUNT(asset_failure_risk ≥ 55) | Rule-based risk across scoped assets | Calculated count | Shown in the risk KPI.

## Worked Example
Worked Example — Edit blue input cells
Input / calculation | Value | Unit / explanation
Forecast day index | 12 | Input: 0–179
Asset ID | 7 | Input
Asset capacity | 3000 | kW — input
Fleet capacity | 36000 | kW — input
Asset status | operational | Use operational or maintenance
Forecast horizon | 90 | days — input
Baseline wind speed |  | m/s
Baseline power |  | kW
Lower wind bound |  | m/s
Upper wind bound |  | m/s
Capacity share |  | asset capacity / fleet capacity
Operating factor |  | deterministic asset factor
Wind bias |  | m/s
Adjusted wind |  | m/s
Adjusted power |  | kW
Average wind (window) |  | Use the average forecast-window wind in production
Failure risk |  | %
Health score |  | /100
Remaining useful life |  | days
Forecast availability |  | % — selected turbine case
Forecast energy example |  | MWh — illustrative conversion from kW over the selected horizon
Forecast revenue |  | USD at fixed USD 82/MWh tariff
Planning confidence |  | % — display rule, not statistical confidence